Ethidium Bromide

This is the most commonly used nucleic acid stain for PAGE or agarose gel electrophoresis.

Ethidium bromide intercalates double stranded DNA and RNA.

Ethidium bromide is a nucleic acid intercalating agent and frameshift mutagen

Available from Sigma	 	Solution										Product No E1510 10 ml @ 10mg/ml £31.50

Solid

Product No E8751      1g @ £14.40

5g @ £49.60

25g@ £195.50

Sigma recommended a working concentration between 0.5ug/ml to 10ug/ml.

- stock solution can be incorporated into the gel (final conc.0.5ug/ml) and visualised immediately after electrophoresis

- Stock solution can be diluted with water (final 0.5 to 10ug/ml)  and the gel incubated in this solution for 15 to 20 minutes

Costing will assume that users will buy in the liquid product. COSHH puts a duty on users to eliminate or reduce risks and hazards where ever possible. Ready prepared solutions reduce the risks associated with handling the solid when making up stock solutions.

Sigma supplied solution (10mg/ml)

This is usually diluted and kept as a stock solution of .5 mg/ml (1000 x solution)

10ml	 £ 31 50

1ml     £  3.15			 1mg/ml		x 10 dilution		10ml @ £ 0.315/ml

0.5 mg/ml		x 20 dilution		20ml @ £ 0.16/ml

Cost for100ml Agarose gel (final concentration 0.5ug/ml)

100ul of 0.5mg/ml stock solution

Cost per gel would be approximately 1.6p

Cost per 100ml staining solution 0.5ug/ml 1.6p

Cost per 100ml staining solution 10ug/ml 32p

Other Factors

Ethidium bromide has significant risks associated with it.

R 23 Very Toxic by inhalation

R22 Harmful if swallowed

R 68 Possible risks of irreversible effects

E.B is also an intercalating agent and frameshift mutagen

These require us to put in place special measures in handling, containment and disposal of this product and all materials associated with it. Schedules 3.2 3.3 and 7.1 of the university hazardous substance policy control measures (UHSP/15/HS/00)

(These were relevent in 2005 but may now have been superseded)

While these measures can produce safer use by reducing risk they require careful adherence and monitoring by all staff.

Ethidium bromide may appear to be a very inexpensive chemical but the purchase of consumables, extra space requirements, monitoring storage and disposal are all hidden costs which should be acknowledged

While we can reduce risk ethidium bromide is still an extremely hazardous chemical.

COSHH puts a burden on us to where possible substitute less hazardous products where possible.

As COSHH regulations are updated they will increase on costs for the school as specialist disposal above and beyond current methods are required

Sybr Safe DNA Gel Stain

Supplied by Invitrogen

Safety Information enclosed

Sybr Safe DNA gel stain has been specifically developed for reduced mutagenicity making it safer than ethidium bromide

Researches at Molecular Probes

Ames tests( Salmonellea/mammalian microsome reverse mutation assays) concluded SYBR Green is only weak mutagen and appears to be less mutagen than ethidium bromide.

They proposed that SYBR Green does not intercalate between the DNA basaes and its presence does not give rise ti point mutation at a high frequency

This product is supplied as

SYBR Safe 10,000 x concentrate in DMSO	400ul @ £36.10

SYBR Safe in TAE and TBE Buffer 		1L @ £ 55.60

4 L@£136.20

Invitrogen recommend a number of protocols for using the products

- Stock Concentrated SYBR Safe Green can be dilute 10.000 x concentrate in TAE or TBE and stained for 30 minutes

- Stock concentrate SYBR Safe Green can be incorporated into agarose gel (dilute 10.00 times)

- The stock concentrate SYBR Safe Green can also be added directly to any DNA sample  dilute 10.000 x to 100 x in DMSO and add 1ul to 9ul of DNA sample (Clare Chemicals)

- Stock diluted solutions of SYBR Safe Green  in TBE  and TAE can

Costings assume that the SYBR Safe Green is added to agarose gels

Recommendations from Invitrogen

Dilute 10,000 times concentrate into gel buffer before adding to powdered agarose

10 ul or SYBR Safe Green to 100ml agarose gel

Supplied as 400ul ampoule  (10.000 concentrate)

Cost per 100ml gel would be

400ul @ £36 10                                          90p

In effect most labs tend to run mini gels of less than 50ml so costs would be reduced to 50p or under

This is considerable more expensive than ethidium bromide.

Bringing the cost down

- test gels using Bio-line Hyperladder 1 indicate that SYBR Safe Green could be used at considerable lower concentrations ( gels run with 100,000 x dilution) with little loss of resolution.

- This would bring the cost of each gel down to 5p

- Invitrogen have discussed the option of Bioscience having a distribution point with considerable reductions if this product were supplied in bulk. This would give further savings

- A filter system can be supplied which gives enhances signal for this product. Invitrogen representative have looked at our imaging system and estimated the cost of such a filter system as approx £50

Why Change

- SYBR Safe Green displays no acute oral toxicity and greatly reduced genotoxicity. Greater safety in use less monitoring required.

- Better for the environment as it offers non hazardous waste status and clean water compliance. This product carries no risk phrases and requires no special handling storage or disposal protocols.

- Little or no on costs after purchase.

- Reduces waste disposal costs

- Compliancy with COSHH requirement to use least hazardous product.

Ethidium bromide is used in abundance in the school. It is cheap, tried, tested and trusted by users and most labs have copious amounts in toxic cupboards and fridges. These are not reasons to be solely used for staying with it if a safer substitute can be found which gives comparable results. Syber Safe Green in preliminary tests has performed as well as ethidium bromide and has none of the hazards associated with E B. It should be considered by the school as a safe alternative for general use.

Could also think about Dark Reader Technology and get rid of the UV lights as well. Interesting maybe?